[titre du projet]
Système de couverture
Section 07560


en bitume caoutchouté appliqué à chaud

[Dossier : No. [      ] ]

Page 1 sur 20

[project title]
Vegetated Protected
Section 07 55 63


Membrane Roofing


File : No. [       ]
Long Form Specification


Canadian Version



[image: image1.png]@\
/ﬂfei?COﬂSf

IIIIIIIIIIIIIIIII



SPEC-NOTE:
This section is supplied for information only as a guide to writing the appropriate specification for an extensive vegetative roof over a hot-applied rubberized asphalt roofing membrane applied to a concrete deck. One may choose among the following articles or add new ones in accordance with Project’s specific requirements.
SPEC-NOTE:
Detail drawing Section 07 55 63 may be consulted in paper form or on the Web to help write the specifications. Also, technical data for each material and product shown on the Drawings and specified in this Section may be found in the binder produced by Hydrotech Membrane Corporation.
PART 1 - GENERAL

1.1
SECTION CONTENT
SPEC-NOTE:
The article SECTION CONTENT is a brief summary of what is covered by this Section and does not constitute a scope of Work.

.1
Preparation of substrates
.2
Hot-applied rubberized asphalt membrane
.3
Polyester fabric reinforcing
.4
Elastomeric sheet reinforcing
.5
Prefabricated expansion joints
.6
Protection sheet
.7
Root barrier protection
.8
Thermal insulation
.9
Drainage boards
.10
Water retention mat
.11
Edge restraints
.12
Drainage/water retention component
.13
Geotextile membrane
.14
Inspection chambers for roof drains
.15
Extensive vegetative roof growing media
.16
Related materials for vegetative roof 
.17
Waterproofing sleeves
.18
Plastic cement
1.2
PRODUCTS TO BE INSTALLED UNDER THIS SECTION
SPEC-NOTE:
In this article PRODUCTS TO BE INSTALLED… list Sections that prescribe and supply products to be installed by this Section. For example, plants may be supplied by Landscape contractor (refer to Division 32 – Exterior Improvements) to be installed by this Section – refer to Part 3.

Also, when products or special equipment must be installed "by others" and are not part of this Contract or that their installation is not part of the contract, such Work shall be understood to be performed by the "Owner".
.1
Section [                     ]

1.3
RELATED SECTIONS
SPEC-NOTE:
Article RELATED SECTIONS is used to inform the reader (contractor or other) that there are other Sections that directly influence the work of this Section. 

The purpose is not to identify work excluded from this Section that may normally be part of this Section but that is found elsewhere in the Specifications; coordination and work allotment are the responsibility of the General Contractor and not the Spec writer’s. List number and title of the Section.

.1
Section
32 93 10 - Trees, Shrubs and Ground Cover Planting.
.2
Section
03 30 00 - Cast-in-Place Concrete: slopes to drains.

.3
Section
04 22 00 - Concrete Unit Masonry (parapets).

.4
Section
06 10 11 - Rough Carpentry: Nailing strips, parapets, grounds.

.5
Section
07 14 13 - Hot-Applied Rubberized Asphalt Waterproofing [for foundation walls] [for parking areas] [for paved terraces] [for superimposed slabs].
.6
Section
07 21 13 - Board Insulation.
.7
Section
07 26 00 - Vapour Retarders.
.8
Section
07 27 10 - Air Barrier.
.9
Section
07 55 63 - Hot-Applied Rubberized Asphalt Roofing.
.10
Section
07 62 00 - Sheet Metal Flashing and Trim; metal flashings and counter-flashings.

.11
Section 07 92 10 - Joint Sealing (and installation methods).
.12
Section [----- -



roof drains].

.13
Section [----- -




].
1.4
REFERENCES
SPEC-NOTE:
List reference standards used in this Section. Identify the standard  by its issuing organization, its number and its title. Indicate date of issue or latest revision of standards in accordance with those supplied by Hydrotech Membrane Corporation.
.1
CGSB 37-GP-9Ma-83, Primer, Asphalt, Used, for Asphalt Roofing, Dampproofing and Waterproofing.
.2
CAN/CGSB-37.50-M89, Hot-Applied, Rubberized Asphalt for Roofing and Waterproofing.

.3
CAN/CGSB-37.51-M90, Application of Hot-Applied, Rubberized Asphalt for Roofing and Waterproofing.

.4
CGSB-37-GP-52-M84, Roofing and Waterproofing Membrane, Sheet Applied, Elastomeric.

.5
CAN/CGSB-51.34-M86, Vapour Barrier, Polyethylene Sheet for use in Building construction.

.6
CAN/ULC-S701-05, Standard for Thermal Insulation, Polystyrene, Boards and Pipe covering.
.7
CSA/A231.2-06 (R2010) - Precast Concrete Paving Slabs/Precast Concrete Pavers.
.8
A- LOHTA Ontario Landscape Standard-edition 2004/Landscape guideline.


B- BCLNA/BCSLA The British Columbia Landscape Standard 7th edition.



C- Respective Landscape Provincial Standards.
.9
CNLA Canadian Standards for Nursery Stock 8th edition.
.10
CAN/BNQ 0413-200/2005 Organic Soil Conditioners-Composts.
.11
Canadian Roofing Contractors Association (CRCA).

.12
BBA (British Board of Agreement) Agreement Certificate No 90/2432.

.13
ASTM E2396 – 11 Standard Test Method for Saturated Water Permeability of Granular Drainage Media [Falling-Head Method] for Vegetative (Green) Roof Systems.
.14
ASTM E2397 – 11 Standard Practice for Determination of Dead Loads and Live Loads Associated with Vegetative (Green) Roof Systems.
.15
ASTM E2398 – 11 Standard Test Method for Water Capture and Media Retention of Geocomposite Drain Layers for Vegetative (Green) Roof Systems.

.16
ASTM E2399 – 11 Standard Test Method for Maximum Media Density for Dead Load Analysis of Vegetative (Green) Roof Systems.

.17
ASTM E2400 – 06 Standard Guide for Selection, Installation, and Maintenance of Plants for Green Roof Systems.

.18
ANSI/SPRI VF-1 External Fire Design Standard for Vegetative Roofs.

.19
ANSI/SPRI RP-14 Wind Design Standard for Vegetative Roofing Systems.

.20
ANSI/GRHC/SPRI VR1 2011 Procedure for Investigating Resistance to Root Penetration on Vegetative Roofs.

1.5
SYSTEM DESCRIPTION
SPEC-NOTE:
Use this article to set out the parameters and requirements related to design criteria or performance of the roofing system installation.
.1
Garden Roof( Assembly on cast-in-place concrete deck, including a flexible and reinforced hot-applied rubberized asphalt roofing membrane.
.1 Protected from site related damages and to keep insulation from adhering to the membrane with a protection sheet.
.2 Protected from root intrusions by a root barrier membrane.

.3 Protected from temperature changes by type IV rigid polystyrene thermal insulation.

.4 Covered by a drainage/water retention component on which a geotextile membrane is unrolled to impede fine particles from the growing media and the obstruction of the aeration and drainage system of the drainage/water retention component.
.5 Covered by a thickness of 150 mm or less of growing media which is designed for minimal maintenance vegetative roofs or for buildings with low bearing capacity.
.6 Covered by plants having a high tolerance to drought.

.7 In accordance to ASTM E2397, vegetative roof system shall have a dead load of   (      )kg/m².
.2
DEFINITIONS
.1 Vegetative Roof – An area of planting/landscaping, built up on a waterproofed substrate at any level that is separated from the natural ground by a man-made structure.
.2 Extensive Vegetative Roof – Low maintenance landscaping consisting of shallow growing media depths (<150mm) with plant varieties restricted to primarily mosses, herbs and succulents capable of withstanding harsh growing conditions.
.3 Intensive Vegetative roof –  Landscaping requiring regular maintenance, consisting of deeper growing media depths (>150mm) with a wider variety of plant species possible including shrubs and small trees.
.4 Semi-Intensive Vegetative Roof – Lawn oriented landscaping requiring at-grade lawn oriented maintenance.  Can include sodded or seeded turfgrasses or naturalized grasses with growing media depths (>200mm).
.5 Garden Roof® Assembly –  Patented system of drainage, water retention and root barrier components utilized in the construction of vegetative roofs over Hydrotech's MM 6125® or MM6125®EV roof membrane.
.6 Steep Slope Vegetative Roof – Defined as a slope exceeding 14° or 25% (3:12) pitch.
.7 “C” Factor – The runoff coefficient used in the Rational Method, “C” represents the portion of the storm rainfall that becomes runoff.

.8 Curve Number (CN) – A number that is used with Natural Resource Conservation Service (SCS) methods to convert rainfall depth into runoff volume. The Curve Number takes into account a site’s soil type, plant cover, impervious cover, interception and surface storage.

1.6
SUBMITTALS
SPEC-NOTE:
Use this article only if roofing system must include particular details, for example flashings, thermal insulation or expansion joints or if the junction with other works must be illustrated to clearly identify each trades responsibility.
SPEC-NOTE:
Identify appropriate reference Section and insert its number and title.
.1
Submit shop drawings in accordance with Section 01 33 00 – Submittals.
.2
Certification from an approved independent testing laboratory experienced in testing this type material that the material meets CGSB-37.50-M89 standard for rubberized asphalt membranes, including applicable ASTM procedures. 

.3
Certification showing full time quality control of production facilities and that each lot of material is tested to insure conformance with the manufacturer's published physical properties.

.4
Evidence that extruded polystyrene insulation is CFC and HCFC free.

.5
Certification showing that all waterproofing components are being supplied by a single-source manufacturer.

.6
The plant manufacturing this type of material must have ISO 9001-2008 approval as evidenced by a copy of the official certificate.

.2
Include details [of expansion-contraction joints] [of seismic joints] [of changes in levels] [of penetrations] [and] [of junctions executed on site] [plan view(s) illustrating arrangement of pavers used as ballast and/or walkways.

.3
Product Data: submit product data for primer, membrane, reinforcing fabric, elastomeric reinforcing sheet, separation sheet, [protection board], thermal insulation, [prefabricated expansion joint], [prefabricated concrete pavers], root barrier protection, drainage/water retention component, geotextile membrane, growing media and vegetative product.
SPEC-NOTE:
Include paragraph .4 to note the importance of taking into account the interface between the Work of this Section and one or more parts of the existing or new building.

.4
Indicate special procedures required to join rubberized membrane to wall [roof] air barrier [and] [to the vapour retarder] to ensure the integrity of the building envelope’s waterproofing.
.5
Vegetative roof system manufacturer shall provide a maintenance program for future Owner.
.6
Stormwater performance of the specific vegetative roof system for the project shall be provided and include: (Note to Specifier:  insert [    ] specific to given project).
.1 Composite Curve Number (CN) shall be [    ].
.2 Composite C factor shall be [    ].
.3 Total volume of water stored in the growing media shall be a minimum of             [    ] m3.
.4 Total volume of water stored in the water retention/drainage element shall be         [    ] m3.
.5 Hydrograph of vegetative roof system showing stormwater release delay and stormwater volume reduction.

.7
Evidence indicating that water is available at the roof level to ensure that the vegetation can receive sufficient moisture through proper maintenance of the vegetative roof.

.8
Evidence that a contract is in place to maintain the vegetation to Hydrotech requirements once installed and throughout the warranty period.
1.7
TEST CERTIFICATES AND QUALITY CONTROL

.1
Submit a test certificate, prepared by a qualified independent testing laboratory, stating that the membrane meets requirements of CAN/CGSB-37.50.

SPEC-NOTE:
Rubberized asphalt produced by Hydrotech Membrane Corporation, unlike certain other bitumen, is resistant to acids. Include paragraph .2 if Owner requires the membrane to be acid resistant (verify % per volume).
.2
Rubberized asphalt membrane must be resistant to acids (fertilizers, detergents and acid rain).

SPEC-NOTE:
Use paragraph .3 as required by governmental regulatory requirements.
.3
Submit a certificate, issued and signed by the product manufacturer demonstrating that the extruded polystyrene insulation is CFC free. 
.4
Provide proof to Architect’s [Consultant’s] [Engineer’s] satisfaction that all materials used in the roofing system are compatible with each other and with contiguous materials, for the lifetime of the installation.

.5
In order to ensure total compatibility, all products prescribed in this section from the deck up must be supplied by one membrane manufacturer.

1.8
QUALITY ASSURANCE 
SPEC-NOTE:
Use this article if manufacturer or installer pre-qualification is required.

5
Certification showing that all waterproofing components are being supplied by a single-source manufacturer.

.1
Membrane manufacturer must has been producing hot-applied rubberized asphalt roofing membrane for at least fifteen (15) years.
.2
The plant manufacturing the rubberized asphalt material shall have IS0 9001-2008 approval as evidenced by a notarized copy of the official certificate.
.3
Roofer must be approved by membrane manufacturer; submit documentation acceptable to Architect [Consultant] [Engineer] that roofer is a certified « Garden Roof® Assembly installer » and that he has uninterrupted experience in the field for the last five (5) years.
.4
List of at least three (3) projects, satisfactorily completed within the past five (5) years, of similar scope and complexity to this project.  Previous experience submittal shall correspond to specific membrane system proposed for use by applicator.
.5
Foreman shall have a minimum of five (5) years of experience and at least one other worker on the job shall have five (5) years of experience.

.6
Membrane Manufacturer shall have available an in-house technical staff to assist the contractor, when necessary, in application of the products and final inspection of the system.
5
Certification showing that all waterproofing components are being supplied by a single-source manufacturer.

.7
The landscaping sub-contractor must be approved by membrane manufacturer; submit documentation acceptable to Architect [Consultant] [Engineer] that landscape sub-contractor has uninterrupted practical horticultural experience in the last five (5) years.  He must be fully informed of horticultural techniques, be familiar with CNLA Canadian Standards for Nursery Stock standard and have a good taxonomical knowledge. Furthermore, he must be able to identify undesirable species at their different growing stages.

.8
Vegetative roof system installer is responsible for the maintenance of the vegetative roof for a period of at least two years. At Project close-out, he must ensure that plants are well developed, healthy, free of adventitious species and their development completed.
.9
Vegetative roof supplier shall show evidence that the specified vegetative roof system has been developed, marketed, supported and installed for a minimum of fifteen (15) years on projects of similar complexity. 
.10
Vegetative roof supplier shall provide data and calculations, specific to the products being submitted, that verify that the vegetative roof system specified meets the project criteria for storm water runoff volume and rate control. 
.1 Calculations shall be based on actual testing of suppliers vegetative roof components to be used for the project including but not limited to the regionally specific growing media formulation and water retention/drainage materials.
.2 Calculations shall account for vegetated and un-vegetated portions of the roof as well as local climatic conditions including rainfall depth, intensity, duration, and timing. 
.11
Vegetative roof supplier shall provide data demonstrating that the composite C-factor and Curve Number parameters for the specified vegetative roof system are less than or equal to those factors used in the engineering design and analysis for the projects drainage and storm water systems analysis.
1.9
REQUIREMENTS OF REGULATORY AGENCIES
SPEC-NOTE:
A ULC certified roof is a roof assembly capable of withstanding an exposure to fire from the exterior of the building.  Classification is established in accordance to exposure and may be severe (Class A), medium (Class B) or light (Class C); this classification has been established in accordance with CAN/ULC-S107M, Methods of Fire Tests of Roof Coverings.

.1
Roofing system described in this Section is classified ULC Class A, in accordance with test No. 360 O18 results, when tested to CAN/ULC-S107M and CAN/ULC-S126M.
SPEC-NOTE:
Paragraph .2 refers to FACTORY MUTUAL (FM) requirements; verify Owner is insured by FM before requiring roofer to meet such requirements.

.2
Roofing system described in this Section shall meet FM – Class (1) (2).
SPEC-NOTE:
In order to resist wind uplift, FM data and requirements may be specified (even if Owner is not insured with FM) to anchor roofing system or one of its parts to the structure using the following paragraph .3.  Refer to "Data Sheet I-28" on insulated steel decks covered by lightweight cement boards or other approved materials.
.3
Ballasting requirements vary depending on height of roof deck, parapet height, and design wind speed based upon location of building.  Vegetative roofs also require proper ballasting and the possible use of wind erosion mats.  Ballast design shall be in accordance with The Dow Chemical Company and Hydrotech Membrane Corp. requirements and other applicable codes or wind design guides. CONTACT Hydrotech for ballasting recommendations.
1.10
MOCK-UP
SPEC-NOTE:
Use this article to have a mock-up of the roofing system constructed on site for a given area; mock-up shall permit review of membrane installation, coordination of the work with other trades, on site testing, training of various tradesmen involved or observation of the installation.
SPEC-NOTE:
Identify appropriate Section and inscribe its number and title.
.1
Construct mock-ups in accordance with Section [01 33 00 – Submittals].
.2
Construct a mock-up of at least 10 m² and illustrating a typical [expansion joint] [an outside angle] [and] [an inside angle].  Waterproofed mock-up area may form part of finished Work when approved by [Architect] [Consultant] [Engineer].

.3
Allow [24] hours for inspection and approval of mock-up by Architect [Consultant] [Engineer] before proceeding with [roofing work].
1.11
PRE‑INSTALLATION MEETINGS
SPEC-NOTE:
Use this article if the Owner wants to integrate pre-installation meetings into his site administration process; if possible, define in an appropriate Division 1 section, for the whole Project, detailed administrative methods to which this article refers.

.1
Convene pre-installation meeting [one] [  ] week(s) prior to beginning work of this Section in accordance with Section [01 31 19 – Project Meetings].
.2
Ensure representatives from inspection agencies, manufacturer, applicator and entities directly involved in the Work of this Section are present.

.3
Review installation conditions, procedures and coordination with other trades.  Use manufacturer’s requirements for approval of membrane substrate.
1.12
STORAGE AND HANDLING
.1
Deliver materials in original unopened containers of packaging clearly labeled with manufacturer's name, brand name, instruction for use, all identifying numbers, and U.L. labels.
.2
Materials shall be stored in a neat, safe manner, not to exceed the allowable structural capacity of the storage area.
.3
Store products in weather protected environment, clear of ground and moisture.

.4
Store rolls in upright position.  

.5
Remove only in quantities required for same day use.
.6
Store insulation away [from sunlight] [and] [the weather] and any deleterious substance.

.7
Store materials in accordance with manufacturer’s recommendations.
.8
Vegetation shall be handled and stored in accordance with the Hydrotech Extensive Garden Roof® Plant Installation and Maintenance Guideline.
1.13
PROJECT CONDITIONS 

SPEC-NOTE:
For rehabilitation work, refer to Workplace Hazardous Materials Information System (HMIS) requirements prescribed in section 02 61 33 - Hazardous Materials, and specify additional requirements in the following paragraphs.

.1
Do not apply rubberized asphalt roofing when air temperature and substrate temperature are below –18°C.

.2
Ensure substrate is dry, free of ice and snow.  Use only dry materials, installed only when atmospheric conditions will not cause moisture ingress into the roofing plies.

.3
Preparation and application of membrane shall be conducted in well ventilated areas.

.4
Over its service life, do not expose membrane or accessories to a constant temperature in excess of 82°C (i.e., hot pipes and vents or direct steam venting, etc.).
.5
Primers contain petroleum distillates and are extremely flammable. Do not breathe vapours or use near an open fire.  Do not use in confined areas without adequate ventilation.  Consult container or packaging labels and Material Safety Data Sheets (MSDS) for specific safety information.
.6
Do not allow waste products (petroleum, grease, oil, solvents, vegetable or mineral oil, animal fat, etc.) to come in contact with the waterproofing membrane.  Any exposure to foreign materials or chemical discharges shall be presented to membrane manufacturer or evaluation to determine any impact on the waterproof membrane assembly performance.
.7
Deck slopes greater than 14° or 25% (3:12) require special installation considerations.  CONTACT Hydrotech for specifics.
.8
General Contractor shall assure that adequate protection is provided after installation so other trades do not damage membrane and plantings.
1.14
CONSTRUCTION SCHEDULE AND CRITICAL PATH 

SPEC-NOTE:
Use this article when the critical path method is required to permit a building’s partial occupancy or for work of another Section.

.1
Submit a [work schedule] [and] [a critical path] in accordance with requirements of Section [01 32 16.06 - Construction Progress Schedule - Critical Path Method (CPM)].

.2
Coordinate work with Related Sections for the installation of materials and the performance of work required prior to membrane application in certain parts of the building.

1.15
WARRANTY
SPEC-NOTE:
Include this article only when a warranty exceeding one year is required. Hydrotech Membrane Corporation offers a warranty covering materials it supplies on condition they are installed and maintained in accordance with company’s printed instructions, for a period of one year.

SPEC-NOTE:
Use paragraph .1 for work performed for the federal government.  Verify references of General Conditions "C" and modify as required.

.1
For Work of this Section, 12 months warranty period provided in General Conditions "C" is extended to [24 months] [60 months].
1
To ensure total system compatibility all products must be purchased from a single-source manufacturer.

.2
The Waterproofing Contractor must be approved by the membrane manufacturer and show evidence that they have yearly experience with rubberized asphalt systems for a minimum of 10 years.

.3
Refer to Article:  1.4 SYSTEM DESCRIPTION, include single-source for all components from the manufacturer.

.4
The rubberized asphalt membrane product shall contain an inert filler to enable the product to be resistant to acids (fertilizers, building washes and acid rain).

SPEC-NOTE:
Use paragraph .2 for work performed for the private sector. Verify and modify as required reference to article CG-12.3 of Stipulated Price Contract (CCDC 2-94).
.2
Submit a written warranty, signed and issued in the name of the Owner, certifying hot-applied rubberized asphalt roofing will remain in place and stay waterproof in accordance with General Condition article CG-12.3, except the warranty period shall be [24] [60] months.
SPEC-NOTE:
Use paragraph .3 when Owner requires a manufacturer’s warranty. Contact manufacturer to verify availability of warranties offered.
.3
Contractor must submit a written warranty, signed and issued in the name of the Owner, certifying hot-applied rubberized asphalt roofing will remain in place and stay waterproof for a period of five (5) to ten (10) years.

.1 Material only Warranty; five (5) or ten (10) years.
.2 Labour and Material Warranty; five (5) years or ten (10) years by applicators approved by Hydrotech Membrane Corporation.
.3 Thermal Warranty; includes 80% retention of the original thermal value of the insulation and that the insulation will remain on the deck to a maximum 110 km/h gust wind speed. Please review the Thermal Warranty for all Terms and Conditions.

.4 Total System Warranty; covers components of the vegetative roof system, including membrane, flashing, insulation, Garden Roof® components, vegetation and pavers. Includes removal and replacement of the Garden Roof® components, vegetation, pavers and growing media (<450 mm deep) when supplied, installed, and maintained to Hydrotech's current requirements.

A. Duration of Membrane/Flashing and replacement of Hydrotech supplied roof substrate board from date of installation: 5-, 10-, 15-, 20 year (watertight condition).
B. Duration of Insulation from date of purchase:  5-, 10-, 15-, 20 year (80% of original thermal value; remain on the deck withstanding wind speeds not to exceed maximum 110 km/h gust wind speed).
C. Material Integrity of Garden Roof® Components from date of purchase:  5-, 10-, 15-, 20-year.
D. Extensive Vegetation: 2-year thrive and coverage from date of installation:

a. Sedum Plugs: minimum 50% coverage end of year 1; 80% coverage end of year 2.
b. Sedum carpet and sedum tile: minimum  90% coverage end of year 2.
c. Perennial Plugs: 2-year thrive from date of installation.
E. Duration of Pavers from date of purchase: 5-, 10-, 15-year (will not crack, split or disintegrate due to freeze-thaw).
PART 2 - PRODUCTS

SPEC-NOTE:
The following is a list of all materials that may be used in the application of a hot-applied rubberized asphalt roof. Ensure only  materials required for this Project are prescribed in this Section.

2.1
SURFACE CONDITIONER
.1
Product: QUICK-SET manufactured Hydrotech Membrane Corporation.
.2
Product: Surface Conditioner 56170 by Hydrotech Membrane Corp.
2.2
RUBBERIZED ASPHALT
.1
Hot-applied rubberized asphalt: to CAN/CGSB-37.50.
.1
Product: 6125( Monolithic Membrane by Hydrotech Membrane Corporation.
SPEC-NOTE:
For L.E.E.D. projects.

.2
Product: 6125EV( Monolithic Membrane having a post-consumer recycled content of 25%±1% manufactured by Hydrotech Membrane Corporation.
2.3
FABRIC REINFORCING 

.1
Spunbonded polyester reinforcing fabric for hot-applied rubberized asphalt membrane.
.1
Product: Flex-Flash® FH-16, manufactured by Hydrotech Membrane Corporation.
2.4
ELASTOMERIC REINFORCING
.1
Synthetic rubber reinforcing sheet fabricated of uncured neoprene, minimum 1.6 mm thick.
.1
Product: Flex Flash UN® manufactured by Hydrotech Membrane Corporation.
2.5
HEAVY-DUTY PROTECTION SHEET
.1
Protection Sheet: 2 mm modified bitumen sheet, with a 95 g/m2 fiberglass  reinforcing.
.1
Product: Hydroflex®30, by Hydrotech Membrane Corporation.
2.6
PITCH POCKETS
.1
Pitch pockets for plastic cement: [4.8 kg/m2 copper], [0.8 mm thick galvanized sheet steel], [to requirements of Section 07 62 00 – Sheet Metal Flashings and Trim].

2.7
PLASTIC CEMENT

.1
Use membrane described in article 2.2 – Rubberized Asphalt.

2.8
ROOT BARRIER
.1
Polyethylene sheet, specially formulated and tested electronically against pinholes meeting ANSI/SPRI VR-1.
.1
Product: Standard ROOT STOP by Hydrotech Membrane Corporation.
2.9
RIGID THERMAL INSULATION
SPEC-NOTE:
Edit to project requirements.
.1
Extruded polystyrene rigid board insulation for use above membrane.

- STYROFOAMTM Brand insulation Type IV as manufactured by The Dow Chemical Company, marketed by Hydrotech Membrane Corporation.

.1
Insulation shall meet CAN/ULC S 701 Type IV.
.2
Minimum compressive strength, ASTM D-1621, 240, 276, 414 or 690 kPa (35, 40, 60 or 100 psi).
.3
Maximum water absorption by volume per ASTM D 2842, 0.7%.
.4
Water vapor permeance for 25 mm (1") product per ASTM E-96,                      35-45 ng/(Pa*s*m²) (0.6-0.8 Perm) (max.).
.5
Insulation shall have an R value/25.4 mm (1 inch) of 0.88 m²*K/W (5.0°F*ft²*h/Btu) of thickness when tested at 23.9°C (75°F) mean temperature in accordance with ASTM C-518 and C 177.
6.
Product shall be free of CFC's and HCFC’s.
Product types available:  STYROFOAMTM Brand ROOFMATETM, HiLoad 40, HiLoad 60 and HiLoad 100. CONSULT Hydrotech for recommended product type.

2.10
COMPOSITE DRAINAGE GEONET (OPTIONAL)

.1
A crush-proof geonet composite drainage system with a non-woven needle-punched filter fabric; to be installed over or under the thermal insulation, distributed by Hydrotech Membrane Corporation.
.1
Product: Hydrodrain® 300.
2.11
MOISTURE RETENTION MAT (OPTIONAL)
.1
Mat composed of recycled high-quality polypropylene fibres. 
.1
Product: Moisture Retention Mat, as supplied by Hydrotech Membrane Corporation.
2.12
DRAINAGE/WATER RETENTION COMPONENT
.1
Recycled polyethylene, moulded into wafered boards.

.1
Product: for extensive vegetative roof, Gardendrain®GR15 as supplied by Hydrotech Membrane Corporation.
.2
Drainage/water retention component shall meet ASTM E2398-11

water capture volume at 2 degrees:
> 0.30 cm3/cm2
water capture volume at 5 degrees:
> 0.25 cm3/cm2
water capture volume at 10 degrees:
> 0.25 cm3/cm2
water capture volume at 20 degrees:
> 0.15 cm3/cm2
2.13
GEOTEXTILE

.1
Non-woven polypropylene geotextile.

.1
Product: LiteTop® Filter as supplied by Hydrotech Membrane Corporation.
2.14
INSPECTION CHAMBER FOR ROOF DRAIN
.1
Aluminium overdrain inspection box, with perforated sides and removable lid.
.1
Product: GardenHatch® as supplied by Hydrotech Membrane Corporation.
.2
Product: extensions, models 25, 75 or 215 mm, as supplied by Hydrotech Membrane Corporation.       
2.15
METAL EDGE RESTRAINT
.1
Metal edge restraint, dimensions to suit, fabricated of 2.54 mm thick aluminium bent to a 90° angle, slotted vertically to permit drainage.

.1
Product: GardenEdge® as supplied by Hydrotech Membrane Corporation.
.2
Product: connector piece, right angled or straight, fabricated of 2.54 mm thick aluminium, with openings to fasten retaining curbs one to each other.
2.16
HARDSCAPE / ROOF BALLAST 
SPEC-NOTE:
Edit to project requirements.

.1
Paver

.1
Ballast Paver
Hydrotech Membrane Corp., Ballast Paver, in accordance with CSA standard A231.2-06, meeting the following physical properties:
	PROPERTY
	VALUES

	Compressive Strength
	>60 MPa (8,700 PSI) average min.

	Flexural Strength
	>6.5 MPa (940 PSI) average min.

	Water Absorption
	Not greater than 5%

	Freeze-Thaw (34 cycles)
	<1% loss/dry weight 


.2
Architectural Finish Paver
Hydrotech Membrane Corp., Architectural Finish Paver, in accordance with CSA standard A231.2-06, meeting the following physical properties:
	PROPERTY
	VALUES

	Compressive Strength
	>60 MPa (8,700 PSI) average min.

	Flexural Strength
	>6.5 MPa (940 PSI) average min.

	Water Absorption
	Not greater than 5%

	Freeze-Thaw (34 cycles)
	<1% loss/dry weight 


.2
Stone Ballast

Well screened and washed stone gravel meeting ASTM D-448-80, gradations #57, 2, 4 or 5 (as directed by Dow Chemical Company, TechNote 508 Ballast Design Guide for IRMA Roofs).

2.17
GROWING MEDIA
.1
Custom growing media mix capable of supporting vigorous growth of the specified vegetation. Must meet requirements described in Part [    ] of [refer to 1.4.8] standard, and complying with the following specifications:
	Density (moist)
	0.88-1.28 g/cm3
	pH
	6.0 – 8.0

	Density (saturated)
	1.12-1.44 g/cm3
	Carbonate Content
	< 25 g/L

	Water retention capacity
	> 30%
	Electrical Conductivity
	< 2.5 mmhos/cm

	Air capacity
	> 10%
	Organic matter
	3% – 8%

	Hydraulic conductivity
	> 30 cm/h
	C/N ratio
	< 20

	Passing 9.5 mm sieve
	95 – 100 %
	Phosphorus*
	65 – 180 ppm

	Passing 6.3 mm sieve
	45 – 95%
	Potassium*
	135 – 270 ppm

	Passing 3.3 mm sieve
	30 – 75 %
	Calcium*
	1,700 – 3,200 ppm

	Passing 2.0 mm sieve
	25 – 60%
	Magnesium*
	135 – 315 ppm

	Passing 1.0 mm sieve
	15 – 45 %
	Aluminium*
	1,100 – 1,600 ppm

	Passing 0.25 mm sieve
	5 – 25 %
	CEC
	> 20 cmol/kg

	Passing 0.075 mm sieve
	<10 %
	
	

	Silt < 0.075-0.002 mm
	< 8 %
	
	

	Clay < 0.002 mm
	<2%
	
	


*:  Mehlich III extraction
.1
Product : for extensive vegetative roof, Extensive LiteTop® growing media as supplied by Hydrotech Membrane Corporation.
.2
Growing media complying to CAN/BNQ 0413-200/2005 (Organic Soil Conditioners-Composts) for the organic content.
SPEC-NOTE:
For LEED certification, « Site Development », credit #5.1. The use of indigenous species, or species adapted to local conditions, on the vegetative roof may serve to obtain this credit. This additional credit is added to credits #6.1 « Stormwater Design » and #7.2 « Heat Island Effect ».
2.18
VEGETATION / PLANTINGS
Option « A » Plants in Multicellular Trays
.1
A selection of 8 to 10 plant varieties perfectly adapted for extensive vegetative roofs in Eastern (Central/ Western) Canada.

.1
Product : extensive Garden Roof® Eastern (Central/ Western) Canada for plants in cellular trays.

.2
List of selected plants must take into account not only their hardyness zone and growing characteristics but also the degree and daily hours of sunlight, predisposition to desiccation as well as all other physical characteristics of the plantation site.
.2
All plants must be supplied by a nursery that meets requirements described in Part [    ] of CNLA Canadian Standards for Nursery Stock 8th edition.

.3
Unless the CNLA standard has special handling requirements (container, bare roots or loose), all plants shall be delivered on 24 unit multicellular trays of at least 190 cm³ (ex. 5 cm deep by 6 cm diameter).

.4
All plants must be clearly identified by type, species and variety.  They must arrive on the plantation site saturated with water to avoid desiccation during transport.
.5
Plants shall be vigorous and with a well-developed root system.  They must be free of phytopathogens and phytophagous organisms.  Growing media must be composed mainly of mineral matter and be free of adventitious species.

.6
A controlled release coated fertilizer may be necessary to activate plant rooting.

Option « B » Sedum Cuttings
.1
This product is used for extensive Garden Roof®. It is composed of a selection of varieties of sedum cultivated from mature sedum plants.  The selection is adapted to Eastern Canada’s climate and is delivered as cuttings without roots in boxed plastic bags.
.1
Product : Extensive Garden Roof® Eastern Canada for Sedum Cuttings.

.2
This product is fixed to the growing media using a wood fibre and polymer based hydro-mulch, 100% biodegradable and having nutritive properties promoting rooting.  This option must be realized at a particular time of the season.
Option « C » Sedum Carpet
.1
This product is used for extensive Garden Roof®. It is composed of a coconut coir, a layer of growing media and a plant mix of varieties of sedums adapted to Eastern Canada’s climate.

.1
Product: Instagreen™ Sedum Carpet as supplied by Hydrotech Membrane Corporation.
Option « D » Sedum Tile
.1
This product is used for extensive Garden Roof®. It is composed of a coconut coir, a layer of growing media and a plant mix of varieties of sedums adapted to Eastern Canada’s climate.

.1
Product: Instagreen™ Sedum Tile as supplied by Hydrotech Membrane Corp.
SPEC-NOTE:
Edit as necessary; select one or more of the following sedum tile blends.
.A Four Season

.B Full Color

.C Shade Tolerant

.D Rugged

.E Custom Sedum Tile
SPEC-NOTE:
Please indicate species and varieties below; contact Hydrotech for assistance and expand list as needed.
	a. 

	b. 

	c. 

	d. 


PART 3 - EXECUTION

3.1
PROTECTIVE MEASURES

.1
Cover walls and adjacent work where materials hoisted or used.

.2
Use warning signs and barriers. Maintain in good order until completion of work.
.3
Clean off all drips and smears of bituminous material.

.4
Dispose of rain water from roof area and away from face of building until roof drains are installed and connected.

.5
Protect roof from traffic and damage until closeout.
.6
Provide plywood protective walkways over the membrane to permit circulation of workers and materials.

.7
At end of each day's work or when stoppage occurs due to inclement weather provide protection for completed work and materials out of storage.

.8
Waterproof and ballast all edges.

3.2
EXAMINATION OF ROOF DECKS
.1
Inspect roof deck and advise Architect [Consultant] [Engineer] in writing of any defect, without delay.

.2
Prior to beginning of work ensure:
.1
Decks are firm, straight, smooth, dry, free of snow, ice or frost and any other contaminant, and swept clean of dust and debris.
.2
Curbs have been built.
.3
Roof drains have been installed at proper elevations relative to finished roof surface.
.4
Sleeves, pitch pockets, pipes and other penetrations receiving the work of this Section are correctly and solidly installed.
.5
Plywood and lumber nailed plates have been installed to parapets as indicated.
.3
The roofing contractor shall not proceed with the installation of the roof membrane assembly until all roof defects have been corrected.
3.3
PREPARATION – GENERAL

SPEC-NOTE:
A sand blast may be necessary to remove an existing concrete curing product. Ensure agreement between concrete finish and Section 03300 – Cast-in-Place Concrete. All concrete surfaces shall receive, as a minimum, a wood float finish and must cure for 14 days.  If such should be the case, advise general contractor or construction manager.

.1
Prior to any roofing work, clean decks of any contaminant that could damage  adhesion of membrane materials; remove all traces of curing products, dust, paint, frost, form release agents and loose particles.
.2
Heat the membrane in a double jacketed, oil bath melter with a maximum flash point of 315°C, or an air jacketed melter. All melters shall be equipped with thermometers and direct drive mechanical agitation.  It is forbidden to heat the bitumen in a direct heat melter. Heat membrane until membrane can be drawn-free flowing at a temperature range between 180°C and 190°C, and not exceeding this maximum temperature.
.3
Crack and construction joint reinforcing (1.5 mm to 6 mm wide):  apply a 300 mm wide, 3 mm thick coat of hot rubberized asphalt membrane and a strip of 150 mm wide uncured neoprene flashing sheet centred on crack or joint and embedded into the membrane; overlap joints in sheet flashing a minimum of 150 mm and seal laps with hot rubberized asphalt membrane. Avoid any wrinkles or fish mouths.  If required, an edge restraint fastening bar shall be used to maintain the elastomeric sheet in its vertical position.
.4
Apply a second 3 mm thick coat of bitumen on the reinforcing sheet to ensure it is perfectly embedded into the membrane.

.5
Expansion joint dimensions and type of elastomeric reinforcing sheet:

.1
25 mm wide joints and less, with a total movement range of 50%: 1.6 mm thick elastomeric reinforcing.

.2
25 to 50 mm wide joints, with a total movement range of 50%: double reinforcing of 1.6 mm thick elastomeric sheet, with joint filler.
.6
Elastomeric expansion joints:

.1
Apply a 3 mm thick, 300 mm wide strip of bitumen on concrete deck to each side of joint.
.2
Place the first edge of the elastomeric sheet in the joint, folded to form a loop at a depth corresponding to one and a half times the joint width; extend the edges of the sheet 150 mm on each side of joint. Insert a filler rod into the loop.

.3
Coat the elastomeric sheet with a 3 mm thick coat of bitumen at a distance of at least 150 mm past the edge of the sheet. Embed a second elastomeric reinforcing strip and extend it 75 mm past the first reinforcing strip. Provide a loop above the filler rod.

.4
Construct expansion joints using a one piece elastomeric sheet; where splices are required, overlap minimum of 150 mm.

.5
Fasten top edge of reinforcing sheets to vertical surfaces using an edge restraint.

.7
Metal flashings for mechanical vents and pipes: Install an elastomeric reinforcing sheet around vents and membrane penetrations. Place and seal reinforcing sheet using hot rubberized bitumen and a mechanical joint. For penetrations into the deck, use prefabricated metal sleeves.
.8
Pitch pockets: Place pitch pockets above the membrane.  Adhere an elastomeric sheet reinforcing into the membrane and cover the pitch pocket’s flange.  Fill pitch pocket with rubberized bitumen or plastic cement; fill to drain water from pitch pocket.
.9
Roof drains: Extend membrane and elastomeric reinforcing sheet (600 x 600 mm) onto the top of the drain collar and make a waterproof assembly between the membrane and the drain.  Install drain ring and tighten around membrane to achieve a waterproof joint.  Block all roof drains when installing ballast [and prefabricated concrete pavers] or any other material that may block them.  Un-block drains when work is interrupted and at end of work.
3.4
CONCRETE DECK PREPARATION

.1
Concrete deck should have a wood float or better finish to ensure proper adhesion.

.2
Block off honeycombs, voids and superficial cracks using a latex based caulk compatible with the membrane.

.3
Ensure concrete has cured at least 14 days prior to applying primer.
.4
Apply primer when deck is dry, at a rate of 1 L per 4 to 6 m2.
.5
Grind sharp edges at joints and changes in direction and/or remove loose stones; joints must be completely free of preformed compounds, sealant or joint fillers, to a depth equal to twice the joint width.  For expansion joints, it is preferable that joint edges be chamfered.
3.5
MEMBRANE

.1
Apply hot rubberized asphalt and install membrane flashings reinforced with polyester fabric of elastomeric reinforcing sheet as required, to minimum requirements of CAN/CGSB-37.51 and manufacturer’s instructions.  Note the more stringent requirements apply.

.2
The first coat of rubberized bitumen must be applied to the concrete deck in a continuous fashion and at an average thickness of 3 mm.
.3
Completely cover the first coat of membrane with a 1000 mm wide fabric reinforcing, taking care to overlap each joint a minimum of 50 mm.  Apply final 3 mm thick coat of membrane to cover the fabric.
.4
Average thickness of the two coats must be 5 mm, with no readings less than 4 mm.

.5
Ensure continuity between building envelope [vapour retarder] [and] [air barrier] and the roofing membrane.
3.6
PROTECTION SHEETS
.1
Install protection sheets while bitumen is still sticky. Overlap sheets 10 to 25 mm to ensure they completely cover the membrane.

.2
Begin installation from low point in the deck and overlap each sheet 50 mm.
3.7
ELECTRONIC LEAK  TESTING
.1     Electric membrane testing and quality control shall be performed  International Leak     Detection and shall be paid by the Owner.
3.8
ROOT BARRIER MEMBRANE INSTALLATION
.1
Completely unroll the root barrier on the waterproofing system and carefully unfold to avoid pleats.

.2
Overlap root barrier sheets 1500 mm.

.3
Bring root barrier membrane up 25 mm above anticipated final soil level at roof perimeter and at openings. Membrane shall be cut back to soil level at work’s end.
.4
Place a temporary ballast on the root barrier until installation of following roofing component.
3.9
THERMAL INSULATION INSTALLATION
.1
Install insulation boards immediately after root barrier installation. Butt boards to obtain tight, parallel joints with staggered end joints. Shape and cut boards to fit correctly.

.2
Adhere insulation boards to vertical or inclined surfaces using approved construction adhesive so that insulation boards do not move during subsequent work.
3.10
COMPOSITE DRAINAGE GEONET INSTALLATION (OPTIONAL)

.1
Install a continuous composite drainage Geonet on the insulation and overlap joints 100 mm.

3.11
MOISTURE RETENTION MAT INSTALLATION (OPTIONAL)

.1
Install a continuous moisture retention mat on the composite drainage Geonet.

.2
Overlap joints 100 mm.
.3
Bring retention mat up 100 mm above anticipated final soil level at roof perimeter and at openings. Membrane shall be cut at soil level at work’s end.

.4
A temporary ballast is required until installation of the remaining assembly components.

3.12
DRAINAGE/ WATER RETENTION COMPONENT INSTALLATION

.1
Lay drainage/water retention component directly onto insulation board, with holes through the dimples on top.

.2
Cut and shape panels to fit openings and parapets.

.3
Buttt panels.

3.13
METAL EDGE RESTRAINT INSTALLATION
.1
To ensure a continuous barrier between growing media and clean strips, install retaining curbs directly onto the drainage/water retention panels where indicated.

.2
Butt and fasten retaining curbs one to the other using connector pieces.
3.14
GEOTEXTILE INSTALLATION
.1
Lay a continuous geotextile on the entire surface of the drainage/water retention component panels.

.2
Overlap joints 300 mm.

.3
Bring geotextile up 150 mm above anticipated final soil level at roof perimeter and at openings. Geotextile shall be cut at soil level at work’s end.
.4
A temporary ballast is required on the geotextile until installation of the remaining assembly components.
.5
For slopes between 10°-14° or 17%-25% (≥2:12 <3:12) filter fabric shall not be installed over the Gardendrain GR15 (only) throughout the field of the roof so that the growing media shall be placed directly into the cups. Filter fabric shall be laid at penetrations, terminations, etc.
3.15
ROOF DRAIN INSPECTION CHAMBER INSTALLATION
.1
Lay roof drain inspection chambers directly over drainage/water retention component.

.2
Use river gravel ballast around chambers so it remains free of vegetation.

.3
Use extensions to reach appropriate level when growing media is deeper.
3.16
HARDSCAPE/ ACCESSORY INSTALLATION
.1
Stone and/or paver ballast shall be installed at all roof perimeters, building walls, penetrations, and access hatches and as required for vegetation free zones, proper wind design, fire breaks, and as walkway/maintenance paths.

.1
Ballast design shall be in accordance with The Dow Chemical Company and Hydrotech Membrane Corporation requirements. CONTACT Hydrotech for ballasting recommendations.
SPEC NOTE:
Ensure tradesmen executing work described in the following articles 3.17, 3.18 and 3.19 have the necessary knowledge of planting and maintenance of plants and are members of their provincial landscape association. Furthermore, tradesmen qualified to install vegetative roofs is a great advantage to the success of the Project.

3.17
GROWING MEDIA PLACEMENT
.1
Maintain site well drained. Ensure roof drains are free of debris or materials that may block them.
.2
Spread a uniform [  ] mm thickness of growing media for extensive vegetative roof on the geotextile, on all surfaces to be planted.  Verify thickness at multiple locations in order to obtain a maximum difference of 10 mm at any point on the surface.

.3
Fill depressions and rake surface level. Compact growing media with a 135 kg water-filled roller.  If required final thickness is 150 mm, compacted in two layers of equal thickness. Refer to the supplier for the compaction factor.

.4
Water for 24 hours prior to planting to saturate the soil. Minimum thickness of growing media after compaction shall be [   ] mm. Review final growing media thickness after watering, correct thickness if required and re-water.

.5
Remove growing media on a width of [  ] mm from roof periphery, roof drains, penetrations and mechanical equipment. Use river gravel ballast retained and separated from growing media with a prefabricated curb installed under the geotextile.

.6
Immediately remove growing media as well as debris from non-planted areas and dispose of noxious substances off site.
.7
Have level and thickness of growing media approved prior to planting.
3.18
PLANTING
Option « A » Plants in Multicellular Trays
.1
Refer to Part [    ] of [refer to 1.4.8] standard, when applicable to planting work.

.2
Planting shall be performed only during plant growing season, and avoiding dry and intensely hot periods.  Do not plant when growing media is frozen.
.3
Keep growing media moist and plants in a shaded area, away from the wind, from moment of delivery until planting.

SPEC-NOTE:
Use paragraph .4 only if selection of plants requires it.  Refer to 2.18.6
.4
Spread the fertilizer on surface of growing media at rate specified by manufacturer. Incorporate into top of growing media with a rake for a better absorption during rooting.  For receptive plants, a bio-stimulant may be added.

.5
Where no specific design is required, plant in a random way to obtain a homogenous mix.  Plant in an equilateral triangle to maximize the plantable area.  Always verify each type of plant’s typical spacing requirements and rectify as required.  Suggested spacing is around 200 mm centre on centre (the distance between each line of plantation should be 200 mm and the distance between each plant row should be 175 mm).

.6
Plant following all steps listed in article [    ] of Part [    ] of [refer to 1.4.8] standard.
.7
Once planting is completed, water growing media with sufficient water to saturate deep in the growing media.
.8
In areas where strong gusts of wind and low snow accumulation are prevalent, counter erosion by using an anti-erosion carpet.

Option « B » Sedum Cuttings
.1
Grow sedum cuttings in accordance with article [    ] of Part [    ] of [refer to 1.4.8] equivalent standard, and adapted to sedum when applicable.

.2
All components of the vegetative roof system must be adequately installed prior to scattering of sedum cuttings to avoid trampling and storage of materials on the plants.
.3
Seeding period shall be between end of thaw and mid-June and between early August and mid-September.  Seeding is prohibited during dry and intensely hot periods.  Do not seed when growing media is frozen.

.4
Keep containers in a cool, dark and dry area immediately upon arrival on the job site until planting.
.5
Manually spread sedum cuttings mix on the growing media. Suggested rate of dispersion is from 1,5 to 2,0 kg per 10 m2.  Spread when there is no wind to prevent desiccation of the cuttings.
.6
Immediately fix the cuttings to the growing media using a hydro-mulch.  The hydro-mulch mix must include a fertilizer and fixing agent, calibrated to the recommended dose by the manufacturer; it is imperative that the hydro-mulch mix be prepared on site.  Apply uniformly, only on seeded areas. 

.7
Once the hydro-mulch is in place, water entire plantation area with sufficient water to saturate deep into the growing media.
Option « C » Sedum Carpet
.1
Proceed with sedum carpet placement using methods inspired by articles [    ]  of Part [    ] of [refer to 1.4.8 ] standard, by adapting them to sedum when applicable.
.2
All components of the vegetative roof system must be installed prior to receiving sedum carpets to avoid trampling and storage of materials on the plants.
.3
Planting shall be performed only during plant growing season, and avoiding dry and intensely hot periods.  Do not plant when growing media is frozen.
.4
Ensure carpet roll’s growing media is moist at time of delivery and correct if required with an oscillating sprinkler prior to hoisting onto roof. Store out of direct sunlight and keep rolls damp until unrolled.
.5
If sedum carpets cannot be placed within one day of their delivery, they must be unrolled on plywood or cardboard in a cool and shady location.
.6
Moisten an area of approximately 10 m2 where the first rolls of sedum carpet are placed to help alleviate stress on the root system.  Each roll must be placed on pre-moistened growing media. Repeat process for every 10 m2 of installation area.
.7
Set the rolls down gently with the end (‘’the flap’’) on the bottom of the roll. Place this leading edge exactly and firmly against the starting edge. Unroll it, avoid moving the carpet due to the stress and tearing action this will have on the root system. Avoid exposing bottom of roll edges. If necessary, fold edges towards the interior.
.8
From the starter roll, lay sedum carpet roll with staggered joints.  Joints between rolls shall touch but not overlap. Fill gaps over 25 mm with growing media.  For gaps wider than 75 mm, patch with a piece of sedum carpet.

.9
When a 10 m2 area has been laid, commence watering this area for at least one hour using an oscillating sprinkler. Repeat the process for each following area of 10 m2.  At day’s end, the entire planted area must be watered until saturation of the carpet and growing media’s components is achieved.
Option « D » Sedum tiles

.1
Proceed with sedum tiles placement using methods inspired by articles [    ]  of Part [    ] of [refer to 1.4.8 ] standard, by adapting them to sedum when applicable.

.2
All components of the vegetative roof system must be adequately installed prior to receiving sedum tiles to avoid trampling and storage of other materials on the plants.
.3
Planting shall be performed only during plant growing season, and avoiding dry and intensely hot periods.  Do not plant when growing media is frozen.
.4
Ensure tile’s growing media is moist at time of delivery and correct if required with an oscillating sprinkler prior to hoisting onto roof. Store out of direct sunlight and keep tiles humid until install.

.5
If sedum tiles cannot be placed within one day of their delivery, they must be stored on plywood or cardboard in a cool shaded location.

.6
Moisten an area of approximately 10 m2 where the first tiles are placed to help alleviate stress on the root system.  Each tile must be placed on pre-moistened growing media. Repeat process for every 10 m2 installation area.

.7
Put tiles down in place gently. Place this leading edge firmly against the starting edge. 

.8
From the starter tile, place sedum tiles with staggered joints.  Joints between tiles shall touch but not overlap.  Fill gaps with growing media.
.9
When a 10 m2 area has been laid, commence watering this area for at least one hour using an oscillating sprinkler. Repeat the process for each following area of 10 m2.  At day’s end, the entire planted area must be watered until saturation of the tiles and growing media is achieved.
3.19
MAINTENANCE DURING ESTABLISHMENT PERIOD
SPEC NOTE:
Vegetative roof maintenance varies according to planting type.  Adapt following paragraphs to suit project’s specific requirements.

.1
Ensure maintenance of planted areas for a period of two (2) years.

.2
Perform maintenance described below between date of planting and date of acceptance by Architect.
.3
Inspect weekly for the first four weeks to take note of installation and maintenance defects and to correct such immediately.  Afterwards, inspections in late spring and early fall shall be performed as part of the scheduled two (2) year maintenance program.  Fill-out and submit appended maintenance control forms to vegetative roof system supplier for each inspection visit.

.4
Saturate growing media during the critical establishment period, which is the first four weeks after planting; for the first week, water daily; second week, water every two days, third week, water every three days and, for the fourth week, water at least once during the week. A 25 mm rainfall replaces a watering.

.5
Planted areas and clean strips shall be kept clean of debris and dead plant matter.  If necessary, remove accumulated leaves and dead flowers and water the plant material and growing media if they are exposed to salt spray.
.6
In the case of plants suffering from mineral deficiencies uniformly spread a fertilizer or soil amendment after having informed the vegetative roof system supplier and the Owner. Spread half the required dosage in one direction, then spread the other half perpendicularly. A controlled release coated fertilizer is recommended every three years.

.7
During the first year, saturate the growing media to avoid plant fading and water stress at all times.  Carefully watch prolonged dry spells where a considerable amount of water is required.  Except in emergency situations, avoid watering in full sunlight or hot temperatures.
.8
During inspection visits, manually weed planted areas (aerial and roots) of all undesirable adventitious plants.  Weeding is much more frequent during the first year of establishment (at least four times) and diminishes the second year (at least twice) until complete coverage by the desired vegetation is achieved. In all cases, adventitious plants must be destroyed prior to their seeds maturing.

.9
Unless indicated otherwise by the vegetative roof system supplier and the Owner, it is forbidden to use any pesticide (herbicide, fungicide, insecticide) or anti-parasitic product on the vegetative roof.

.10
Inspect and clean roof drains two to three times a year, especially at beginning and end of the growing season.
.11
Replant areas where plants are dead or where areas are denuded after having informed the vegetative roof system supplier and the Owner, and this, until the end of warranty period.
3.20
ON-SITE QUALITY CONTROL
SPEC NOTE:
Inspection agency must be experienced in waterproofing membranes and their application.
.1
Hot-applied rubberized asphalt membrane inspection and testing shall be carried out by an inspection agency selected by Architect [Consultant] [Engineer], in accordance with Section [01 45 00 – Quality Control].
3.21
ELECTRIC FIELD VECTOR MAPPING
.1
Membrane quality control shall be performed using the EFVM (Electric Field Vector Mapping) method and shall be paid by the Owner.
3.22
CLEANING
.1
Clean work area in accordance with Section [01 74 11 – Cleaning].

END OF SECTION

Les Membranes Hydrotech Corp
TOITURE À MEMBRANE PROTÉGÉE 

Version du 03/04/02
SUR PONTAGE EN BÉTON
Hydrotech Membrane Corporation

EXTENSIVE VEGETATIVE ROOFING

2014/03/31 Version
(150 mm and less)


